**PART L03**

**EROSION CONTROL MATTING**

**CONTENTS**

1. General
2. Selection and Supply of Matting Types
3. Supply of Matting
4. Matting Types
5. Additional Matting Treatments
6. Site preparation
7. Installation
8. Maintenance

Attachment L03A: Selection of Matting

1. **GENERAL**

This part specifies the requirements for erosion control matting including selection, site preparation, installation and maintenance of matting. Erosion control products that require geotechnical and engineering solutions such as Geoweb® are not addressed in this specification.

1. **SELECTION AND SUPPLY OF MATTING TYPES**

Erosion control matting shall be selected in accordance with Appendix A. Refer to the **Contract Specific Requirements** for the appropriate matting type and supply.

1. Supply of matting by the Principal

If matting is supplied by the Principal a supply location will be specified in the **Contract Specific Requirements**. The Contractor shall give at least 2 working days notice prior to collecting the matting.

1. Supply of matting by the Contractor

The Contractor shall supply and deliver the matting as specified in the **Contract Specific Requirements**.

1. **MATTING TYPES**

Where matting is specified, an approved type shall be installed in accordance with the manufacturer's instructions.

* 1. **Short Term Biodegradable Matting**
1. Light Jute

This matting is jute based, graded at 250-300gms, with a short life span of approximately 9 months i.e. Jutemaster – lite or equivalent.

1. Jute Based Mesh

Jute based loose woven “cargo net” mesh with short life span of 9 months i.e. Jutemesh and SoilSaver jute mesh or equivalent.

* 1. **Medium Term Biodegradable Matting**
1. Jute Based

This matting is jute based, graded at 600 – 800g/m2, with a life span of approx 18 months. i.e. Jutemaster - thick and Maxjute™ – thick, or equivalent.

1. Recycled

This matting contains recycled materials such as cotton and polyester graded at 260 – 300gsm, with a life span up to 36 months. i.e. ReCover™ or equivalent.

* 1. **Long Term Biodegradable Matting**
1. Heavy Jute Mesh

A long term heavy jute fibre, graded at 620 – 650gsm, with a life span of 18 months. i.e. Maxjute™ -thick or equivalent.

1. Coir Matting

An open weave geotextile made up of 100% coconut fibre. Life span of approximately 4 – 6 years. i.e. T.E.C. Mat™ Coir or equivalent.

* 1. **Synthetic Matting**
1. Polypropylene

Comprises UV stabilized polypropylene fibres and mesh, graded at 380 - 400 gsm and long term life span of up to 10 years. i.e. Grassroots™, or equivalent.

1. Polypropylene Nets

Polypropylene nets heat bonded to HDPE nets with 3 dimensional profile providing permanent root matrix. Different grades available, R20, R40 with 20Kn and 40Kn shear properties, thickness 20-25mm, mass 340gsm, long term life span, example TrinterMat™ or equivalent.

* 1. **Composite Matting**
1. Short Term

This matting is made up of biodegradable wood wool within a polypropylene mesh, graded at 500g/m2, with 12 – 18month life span. i.e. Enviromat or equivalent.

1. Long Term

This matting is a combination of jute, synthetic fibre and mesh scrim graded at 280 – 330gsm, with a life span of up to 3 years. i.e. MaxBio™ or equivalent

1. **ADDITIONAL MATTING REQUIREMENTS**

Where specified on the Drawings or in the **Contract Specific Requirements,** matting shall incorporate additional requirements prior to installation.

1. Fire Retardant

Matting installed in fire prone areas shall be treated with a suitable fire retardant prior to revegetation as per the manufacturer’s instructions.

1. Mat Slitting

Thick jute matting may be pre slit by the manufacturer to facilitate planting at a spacing of four to six slits per square metre. Slitting may be customized with sufficient lead time and quantities at the time of manufacture.

1. **SITE PREPARATION**

Site preparation for areas to be matted shall be in accordance with the Drawings and the **Contract Specific Requirements** for site preparation.

1. Weed Control

Before installation of matting commences, the area to be matted shall be eradicated of weeds and any existing vegetative growth (excluding native vegetation) shall be slashed to a height of 50mm unless specified otherwise in the **Contract Specific Requirements**. Trash build up and cut material shall be removed from the area prior to spraying with a non selective herbicide (Glyphosate) incorporating a herbicide marker. Weeds shall be sprayed a minimum ten days prior to installation of matting. All invasive weeds such as Kikuyu, Couch Grass, Onion Weed and Nut Grass shall be eradicated prior to matting. Glyphosate (Biactive formulation) shall be used around wetlands drainage lines and waterways. The herbicide shall be used according to the manufacturer’s recommended rates and any off target damage shall be rectified by the Contractor.

1. Earthworks

The Contractor shall trim and grade all worked subgrade areas as required prior to placing topsoil to provide a smooth, consolidated, even, free draining surface, free from depressions and undulations to final design levels unless specified otherwise in the **Contract Specific Requirements**. Where rill and sheet erosion has occurred the Contractor shall repair and reinstate with suitable stable material. Stones and clay clumps larger than 50mm diameter are to be removed to allow smooth and uninterrupted surface contact with the matting.

Note that exposed dispersible clays require topsoiling prior to matting.

1. **INSTALLATION**
	1. **General**

Installation of matting shall be in accordance with the Drawings and **Contract Specific Requirements**.

The Contractor shall install matting by rolling the mat down the slope with a minimum 150mm overlap between strips unless specified otherwise in the **Contract Specific Requirements**. Rolls should be tiled so that overlap is in the direction of either placement of cover material or prevailing wind. The matting shall lay loosely on the soil surface to achieve maximum soil contact.

Where matting is laid over low velocity drainage channels, it shall be overlapped in the direction of water flow. Matting of high velocity channels and drains will be laid in the direction of the drainage channel and overlapped a minimum of 150mm between strips.

* 1. **Anchoring**

Matting shall be fixed to the base of trenches by pinning and backfilling with excavated material (not containing large rocks < 50mm) and compacted to original levels. Pins shall be spaced at 2000mm intervals prior to backfilling.

1. Top of Batter

The minimum trenching depth shall be 500mm beyond top and 200mm depth.

1. Bottom of Batter

The minimum trenching depth shall be 400mm beyond toe and 200mm depth.

1. Side of Batter

The minimum trenching depth shall be 200mm beyond and 200mm depth.

1. Pinning

Minimum pinning requirement to be 200mm x 30mm x 200mm (leg x bridge x leg) non galvanized pins, 3mm wire diameter spaced at 3 per square metre.

Installation to conform to manufactures instructions and should be site specific according to soil type.

1. **MAINTENANCE**

Refer to the **Contract Specific Requirements** for maintenance requirements.

1. Repair of damaged matting

The Contractor shall repair all washouts, wind blowouts, tears and damage to matting and reinstate within 2 weeks of notification. This will include retrenching, repining and replacement of damaged sections of matting.

1. Reinstatement of eroded soil

The Contractor shall reinstate eroded soil with suitable soil to final design levels and specification.

1. Reseeding and replanting

Replanting or reseeding of the repaired section will be completed as specified in the **Contract Specific Requirements** and the timing of this work will be with agreement from the Principal.

**ATTACHMENT L03A**

**SELECTION OF MATTING**

Matting shall be selected in accordance with the following site conditions table.

|  |
| --- |
| **SITE CONDITIONS** |
|  | Rainfall | Rainfall | Swales & drains | Swales & drains | slope | slope | weeds | weeds | Revegetation | Revegetation | Soil type \* | Soil type \* |
| Matting types | High >450mm | Low <450mm | High velocity | Low velocity | 1:2 – 1:3 | 1:3 – 1:5 | dense | sparse | seeding | planting | stable | erodible |
| **Biodegradable** |  |  |  |  |  |  |  |  |  |  |  |  |
| Short term |  | x |  |  |  | x |  | x | x |  | x |  |
| Medium term | x | x |  | x |  | x |  | x | x | x | x |  |
| Long term | x |  | x |  | x |  | x |  |  | x |  | x |
| **Synthetic** |  |  |  |  |  |  |  |  |  |  |  |  |
| Long term | x |  | x | x | x |  | x |  |  | x |  | x |
| **Composite** |  |  |  |  |  |  |  |  |  |  |  |  |
| Short term |  | x |  |  |  | x |  | x | x |  | x |  |
| Long term | x |  | x |  | x |  | x |  |  | x |  | x |

Short term < 9 months

Medium term 18 months

Long term > 36mths (estimated life span, dependent on weather and site exposure)

\* On site soil testing to be undertaken to determine soil stability

\_\_\_\_\_\_\_\_\_\_\_\_